## osds
Calibration | High_ID | High_material | High | High_sd | High_n | High_se | Low_ID | Low_material | Low | Low_sd | Low_n | Low_se | Ref_scale | Citation_val | Citation_cal | Treatment | O_calibration_comments
OldEC.2_O_2 | BWB | Bowhead whale baleen | 12.82 | 0.13 | 3 | 0.08 | CFS | Chicken feather keratin | 5.24 | 0.02 | 3 | 0.01 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Qi et al. 2011 Rapid Comm Mass Spec | optimal GC column and normalised to reference waters sealed in silver tubes
OldEC.3_O_1 | CHS | Cow hoof keratin | 5.59 | 0.24 |  |  | CFS | Chicken feather keratin | 5.38 | 0.03 |  |  | OldEC.3_O_1 | Qi et al. 2011 Rapid Comm Mass Spec | Qi et al. 2011 Rapid Comm Mass Spec | newly packed GC column, peak detected on mass 28
OldEC.3_O_2 | CHS | Cow hoof keratin | 5.31 | 0.19 | 3 | 0.11 | CFS | Chicken feather keratin | 5.24 | 0.02 | 3 | 0.01 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Qi et al. 2011 Rapid Comm Mass Spec | optimal GC column and normalised to reference waters sealed in silver tubes
EC_O_9 | KHS | Kudu Horn Standard | 20.3 | 0.3 |  |  | CBS | Caribou Hoof Standard | 3.8 | 0.3 |  |  | EC_O_9 | Coplen 2017 USGS Certificates | Wassenaar and Hobson 2010 IsoEcol | optimal GC column and normalised to IAEA602/IAEA601; drying not described
EC_O_10 | KHS | Kudu Horn Standard | 21.46 | 0.03 |  |  | CBS | Caribou Hoof Standard | 2.5 | 0.11 |  |  | EC_O_10 | Qi et al. 2011 Rapid Comm Mass Spec | Qi et al. 2011 Rapid Comm Mass Spec | newly packed GC column, peak detected on mass 28
EC_O_11 | KHS | Kudu Horn Standard | 21.21 | 0.17 | 4 | 0.09 | CBS | Caribou Hoof Standard | 2.39 | 0.13 | 4 | 0.07 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Qi et al. 2011 Rapid Comm Mass Spec | optimal GC column and normalised to reference waters sealed in silver tubes
OldUT_O_1 | FH | Florida horse hair | 14.85 |  |  |  | UH | Utah horse hair | 5.67 |  |  |  | OldUT_O_1 | Magozzi et al. MEE | Bowen et al. 2005 Rapid Comm Mass Spec; Chesson & Howa pers comm | calibration against cellulose/PEF
OldUT_O_2 | FH | Florida horse hair | 13.22 | 0.21 | 6 | 0.09 | UH | Utah horse hair | 3.49 | 0.16 | 6 | 0.07 | US_O_1 | Coplen & Qi 2012 Forensic Sci Int | Coplen & Qi 2012 Forensic Sci Int | comp eqib against US_O_1
OldUT_O_4 | FH | Florida horse hair | 14.67 | 0.27 | 48 | 0.04 | UH | Utah horse hair | 5.35 | 0.18 | 48 | 0.03 | IAEA_O_1 | Magozzi et al. MEE | Chesson & Howa pers comm | calibration against IAEA602/IAEA601 (d18O values: 23.3/71.4)
UT_O_2 | ORX | Oryx antelope horn from Ethiopia | 25.09 | 0.3 | 49 | 0.04 | DS | Dall sheep horn from Alaskan interior | 6.02 | 0.24 | 50 | 0.03 | IAEA_O_1 | Magozzi et al. MEE | Chesson & Howa pers comm | IsoForensics; calibration against IAEA602/IAEA601 (d18O values: 23.3/71.4)
UT_O_4 | ORX | Oryx antelope horn from Ethiopia | 22.82 |  |  |  | DS | Dall sheep horn from Alaskan interior | 4.66 |  |  |  | UT_O_4 | Magozzi et al. MEE | Howa pers comm | Davis; calibration against IAEA602/IAEA601 (d18O values: 23.3/71.4) | Does not have uncertainty
UT_O_5 | ORX | Oryx antelope horn from Ethiopia | 23.45 |  |  |  | DS | Dall sheep horn from Alaskan interior | 4.93 |  |  |  | UT_O_5 | Magozzi et al. MEE | Howa pers comm | Texas A&M; comp eqib against SA_O_11 | Does not have uncertainty
CAN_O_6 | AND | Canadian hair | 12.26 | 0.05 |  |  | CAL-SAL | Canadian hair | 5.95 | 0.11 |  |  | CAN_O_6 | Qi et al. 2011 Rapid Comm Mass Spec | Qi et al. 2011 Rapid Comm Mass Spec | newly packed GC column, peak detected on mass 28
CAN_O_7 | AND | Canadian hair | 12.22 | 0.12 | 3 | 0.07 | CAL-SAL | Canadian hair | 5.97 | 0.08 | 3 | 0.05 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Qi et al. 2011 Rapid Comm Mass Spec | optimal GC column and normalised to reference waters sealed in silver tubes
CAN_O_5 | AND | Canadian hair | 11.86 | 0.07 | 6 | 0.03 | CAL-SAL | Canadian hair | 5.49 | 0.16 | 6 | 0.07 | US_O_1 | Coplen & Qi 2012 Forensic Sci Int | Coplen & Qi 2012 Forensic Sci Int | comp eqib against US_O_1
US_O_1 | USGS43 | Indian hair | 14.11 | 0.1 | 18 | 0.024254 | USGS42 | Tibetan hair | 8.56 | 0.1 | 18 | 0.024254 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec; Coplen & Qi 2012 Forensic Sci Int; Coplen 2017 USGS Certificates | Qi et al. 2011 Rapid Comm Mass Spec; Coplen & Qi 2012 Forensic Sci Int; Coplen 2017 USGS Certificates | optimal GC column and normalised to reference waters sealed in silver tubes
US_O_8 | USGS43 | Indian hair | 14.4 | 0.1 |  |  | USGS42 | Tibetan hair | 8.85 | 0.15 |  |  | US_O_8 | Qi et al. 2011 Rapid Comm Mass Spec | Qi et al. 2011 Rapid Comm Mass Spec | newly packed GC column, peak detected on mass 28
US_O_5 | USGS43 | Indian hair | 15.96 | 0.41 | 0.44 | 0.06 | USGS42 | Tibetan hair | 9.94 | 0.36 | 56 | 0.05 | UT_O_2 | Magozzi et al. MEE | Howa pers comm | comp eqib against UT_O_2
IAEA_O_1 | IAEA601 | Benzoic acid | 23.3 | 0.3 |  |  | IAEA602 | Benzoic acid | 71.4 | 0.5 |  |  | IAEA_O_1 | Brand et al. 2009 Rapid Comm Mass Spec | Schimmelmann 2002 IAEA Rep; http://isostandards-crm.com/documentos/productos/coa/IAEA-601.pdf; http://isostandards-crm.com/documentos/productos/coa/IAEA-602.pdf | average of values determined with online (MPI Jena) and offline (Indiana University) methods; measurements from other labs are welcome
IAEA_O_2 | IAEA601 | Benzoic acid | 23.14 | 0.19 |  |  | IAEA602 | Benzoic acid | 71.28 | 0.36 |  |  | IAEA_O_2 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report; https://nucleus.iaea.org/sites/ReferenceMaterials/Pages/IAEA-601.aspx; https://nucleus.iaea.org/sites/ReferenceMaterials/Pages/IAEA-602.aspx | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report; https://nucleus.iaea.org/sites/ReferenceMaterials/Pages/IAEA-601.aspx; https://nucleus.iaea.org/sites/ReferenceMaterials/Pages/IAEA-602.aspx | cal against a ref water and two barium sulfates using a variety of HTC techniques; average of values determined at six labs (USGS,ETH,CIO,MPI-BGC,UFZ,ANU)
IAEA_O_3 | IAEA601 | Benzoic acid | 23.02 | 0.13 |  |  | IAEA602 | Benzoic acid | 71.26 |  |  |  | IAEA_O_3 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | USGS
IAEA_O_4 | IAEA601 | Benzoic acid | 23.14 | 0.17 |  |  | IAEA602 | Benzoic acid | 71.24 |  |  |  | IAEA_O_4 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | ETH
IAEA_O_5 | IAEA601 | Benzoic acid | 23.03 | 0.08 |  |  | IAEA602 | Benzoic acid | 71.17 |  |  |  | IAEA_O_5 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | CIO
IAEA_O_6 | IAEA601 | Benzoic acid | 22.95 | 0.53 |  |  | IAEA602 | Benzoic acid | 71.01 |  |  |  | IAEA_O_6 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | MPI-BGC
IAEA_O_7 | IAEA601 | Benzoic acid | 23.42 | 0.65 |  |  | IAEA602 | Benzoic acid | 72.3 |  |  |  | IAEA_O_7 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | UFZ
IAEA_O_8 | IAEA601 | Benzoic acid | 23.48 | 0.11 |  |  | IAEA602 | Benzoic acid | 71.31 |  |  |  | IAEA_O_8 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | ANU
VSMOW_O | VSMOW | Water | 0 |  |  |  | SLAP | Water | -55.5 |  |  |  | VSMOW_O | https://nucleus.iaea.org/rpst/documents/VSMOW_SLAP.pdf